## Fluorometer Table
Company | Name | phyco/chl | type | Field/lab | Blank required | drift tracking/calibration | Variables | Units | Range | MDL | url | notes
AmiScience | FluoroQuik - Factory calibrated - Duluth | both | handheld | Lab | cuvette blank | yes- rhodamine | chl-a, phyco, PC:CHL ratio | µg/L, RFU, ratio | PC: 0-20,000 µg/L CHL: 0-1,000 µg/L | PC: 1.0 µg/L CHL: 0.2 µg/L | http://www.amiscience.com/product.php?pid=51 | Used to be Beagle
AmiScience | FluoroQuik - Rhodamine calibrated - URI | both | handheld | Lab | cuvette blank | yes- rhodamine | chl-a, phyco, PC:CHL ratio | µg/L, RFU, ratio | PC: 0-20,000 µg/L CHL: 0-1,000 µg/L | PC: 1.0 µg/L CHL: 0.2 µg/L | http://www.amiscience.com/product.php?pid=51 | Used to be Beagle
Turner | Trilogy - Chlorophyll a Extracted (Non-Acidification) | chl | benchtop | Lab | filter blank | solid standard | chl-a | RFU, µg/L | CHL: 0-300 µg/L | CHL: 0.025 µg/L
Turner | Trilogy - Phycocyanin Extracted | phyco | benchtop | Lab | filter blank | solid standard | phyco | RFU, µg/L | PC: 0-10,000 µg/L | PC: 2 µg/L | https://www.turnerdesigns.com/trilogy-laboratory-fluorometer
bbe | Phycoprobe | chl, chl proxy for phyco, unbound phyco | handheld | Lab | filtered water - one per pond | yes- rhodamine | green algae [μg chl-a/l], blue-green algae [μg chl-a/l], diatoms [μg chl-a/l], cryptophyceae [μg chl-a/l], unbound phycocyanin [μg /l] | µg/L | Free PC: CHL: 0 - 200 µg/l | Free PC: CHL: | https://www.bbe-moldaenke.de/en/products/chlorophyll/details/phycoprobe.html
Turner | CyanoFluor | both | handheld | Lab | filtered water - one per sample | yes- cal check std cuvette | chl-a, phyco, PC:CHL ratio | RFU, ratio | PC/CHL: 0-100 µg/L | PC/CHL: 0.3 µg/L | https://www.turnerdesigns.com/cyanofluor-hab-indicator
Turner | Trilogy - Chlorophyll a (In-vivo) | chl | benchtop | Lab | filtered water - one per sample | solid standard | chl-a | RFU | CHL: 0-300 µg/L | CHL: 0.025 µg/L
bbe | AlgaeTorch | chl & chl proxy for phyco | handheld | Field | no | no | total chlorophyll, cyanobacteria chlorophyll | µg/l | CHL: 0 - 200 µg/l | CHL: 0.15 µg/l | https://www.bbe-moldaenke.de/en/products/chlorophyll/details/algaetorch.html
Turner | FluoroSense | phyco | handheld | Field | no | yes- rhodamine | phyco | µg/L | PC: 0-199 µg/L | not listed - semi-qualitative | https://www.turnerdesigns.com/fluorosense-handheld-fluorometer

## Cleaned Table
Company | Instrument | Variables | Units | Range | MDL
Turner | Trilogy - Phycocyanin Extracted | phyco | RFU, µg/L | PC: 0-10,000 µg/L | PC: 2 µg/L
Turner | Trilogy - Chlorophyll a Extracted (Non-Acidification) | chl-a | RFU, µg/L | CHL: 0-300 µg/L | CHL: 0.025 µg/L
Turner | Trilogy - Chlorophyll In-vivo | chl-a | RFU | CHL: 0-300 µg/L | CHL: 0.025 µg/L
Turner | FluoroSense | phyco | µg/L | PC: 0-199 µg/L | not listed - semi-qualitative
Turner | CyanoFluor | chl-a, phyco, PC:CHL ratio | RFU | PC/CHL: 0-100 µg/L | PC/CHL: 0.3 µg/L
AmiScience | FluoroQuik | chl-a, phyco, PC:CHL ratio | µg/L, RFU | PC: 0-20,000 µg/L CHL: 0-1,000 µg/L | PC: 1.0 µg/L CHL: 0.2 µg/L
bbe | Phycoprobe | green algae, blue-green algae, diatoms, cryptophyceae, total chl-a (all using chl a as proxy) unbound phycocyanin (μg /l) | µg/L | CHL: 0 - 200 µg/l
bbe | AlgaeTorch | chl-a, cyanobacteria (using chl-a as proxy) | µg/l | CHL: 0 - 200 µg/l | CHL: 0.15 µg/l

## Sheet2
chl comparison | phyco comparison
fluoroquik | fluoroquik
algaetorch | algaetorch
phycoprobe | phycoprobe
cyanofluor | cyanofluor
trilogy extracted | trilogy extracted
trilogy in vivo | fluorosense